How to submit an application for a building permit:

- Via Email: info@sop.wa.gov.au

(preferred method – we are moving towards a paperless working environment)

- In Person: 22-24 Lowood Road, Mount Barker WA 6324 (Admin Building)

(Preference for A3 Plans)

- Via Post: PO Box 48, Mount Barker WA 6324

(Preference for A3 Plans)

- For Certified Applications, you will need the necessary planning and/or health approvals prior to submission.

- You will need to contact the Water Corporation if you are building or renovating to ascertain whether they require you to submit plans to the Corporation.

Please contact our Planning & Development Services team if you have any questions about the information needed to apply.

Please see the Building & Planning Services Directory for contact details for consultants and services for technical documents.

| Application Requirements |  | Tick |  |
| --- | --- | --- | --- |
| 1. | FORMS (provided in pack) |  |  |
|  | Building Permit Application Form (BA1 and BA3 or BA2) located: https://www.wa.gov.au/organisation/building-and-energy/building-approvals |  | ☐ |
|  | If construction value exceeds $20,000 – please pay your Construction Training Levy online - https://www.wa.gov.au/service/education-and-training/vocational-education/pay-your-construction-training-fund-levy - and provide a copy of the receipt as evidence of payment online (preferred) or completed Form (request a copy from us to complete) |  | ☐ |
|  | If you intend to be an Owner Builder and building works are over $20,000, you will need Owner Builder approval from the State Government before you can proceed with your Building Permit with the Shire. You can find further information at: https://www.wa.gov.au/organisation/service-delivery/owner-builder-approval |  | ☐ |
|  | Application to Construct or Install an Apparatus for the Treatment of Sewage (dwellings in unsewered areas only) – form available at: https://www.health.wa.gov.au/~/media/Files/Corporate/general-documents/water/Wastewater/Septic-Application.pdf |  | ☐ |
|  | Infrastructure Bond form – for development over $45,000 |  | ☐ |
|  | Crossover Application forms located: https://www.plantagenet.wa.gov.au/develop-build/building/vehicle-crossovers.aspx |  | ☐ |

| 2. | PLANS (to be provided) |  |
| --- | --- | --- |
|  | One complete set of plans must be provided (electronic plans are accepted). All plans and details must be legible, drawn to scale and include the Lot address and owner details. Must be no larger than A3. | ☐ |

| 2.1 | Location Plan (applicable for larger lots i.e. over 1 ha to show site plan location) *Can be inset on Site Plan* |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Show entire lot | ☐ |  |  |  |  |  |
|  | Show proposed location of building work on site with relevant setbacks from boundary lines | ☐ |  |  |  |  |  |
|  | Street name(s), lot number(s), north point, dimensions of the property | ☐ |  |  |  |  |  |
|  | Building Envelope including dimensions, setbacks from boundaries, natural features (where applicable) | ☐ |  |  |  |  |  |
|  | Proposed/Existing Vehicular Access (Crossover) location | ☐ |  |  |  |  |  |
| 2.2 | Site Plan (minimum scale 1:200) (example included in application pack) |  |  |  |  |  |  |
|  | Feature and Contour Survey- Existing levels (contours) and proposed floor/ground levels including any filling or excavation of the site |  | ☐ |  |  |  |  |
|  | Building Envelope including dimensions, setbacks from boundaries, natural features (Where applicable) |  | ☐ |  |  |  |  |
|  | All existing and proposed structures on site including setbacks to boundaries and between buildings (If applicable) (e.g. house, sheds, swimming pool, water tanks, etc) |  | ☐ |  |  |  |  |
|  | Street name(s), lot number(s), north point and the dimensions of the property |  | ☐ |  |  |  |  |
|  | Location and details of effluent disposal system (if applicable) |  | ☐ |  |  |  |  |
|  | All existing trees close to the proposed structures or driveways and any proposed Landscaping/Tree Planting |  | ☐ |  |  |  |  |
|  | Existing and proposed driveways, location of on-site parking and other paved or impervious areas |  | ☐ |  |  |  |  |
|  | Proposed stormwater management devices (pipes, drains, basins, tanks, dams) |  | ☐ |  |  |  |  |
|  | Height and extent of proposed earthworks |  | ☐ |  |  |  |  |
|  | North point |  | ☐ |  |  |  |  |
| 2.3 | Floor Plan (scale 1:100) |  |  |  |  |  |  |
|  | All dimensions of the proposed building(s) |  |  | ☐ |  |  |  |
|  | Room names |  |  | ☐ |  |  |  |
|  | Sunken areas |  |  | ☐ |  |  |  |
|  | Location of windows and doors showing their sizes |  |  | ☐ |  |  |  |
|  | Hard wired smoke detector location(s) |  |  | ☐ |  |  |  |
|  | Ridge, valley, eaves line and downpipe locations |  |  | ☐ |  |  |  |
| 2.4 | Elevations (scale 1:100) |  |  |  |  |  |  |
|  | Existing ground and proposed finished floor and ground levels |  |  |  | ☐ |  |  |
|  | Location and dimensions of doors and windows (including direction of opening) e.g. fixed, sliding, awning |  |  |  | ☐ |  |  |
|  | Roof pitch |  |  |  | ☐ |  |  |
|  | Types of materials used |  |  |  | ☐ |  |  |
| 2.5 | Cross sectional view (scale 1:100) |  |  |  |  |  |  |
|  | Finished ground level |  |  |  |  | ☐ |  |
|  | Type of sub-floor structure (e.g. concrete footing and slab or frame) |  |  |  |  | ☐ |  |
|  | Sunken areas |  |  |  |  | ☐ |  |
|  | Height of ceiling |  |  |  |  | ☐ |  |
|  | Type of roof (e.g.: steel truss, pitched, engineered roof) |  |  |  |  | ☐ |  |
| 2.6 | Electrical |  |  |  |  |  |  |
|  | Electrical layout plan including smoke detector locations |  |  |  |  |  | ☐ |

| 2.7 | Soil Assessment/Wind rating |  |
| --- | --- | --- |
|  | Site and Soil Evaluation (required under Government Sewerage Policy 2019) | ☐ |
|  | Soil assessment (required for footings) | ☐ |
|  | Wind rating (AS4055 – Class 1: 1 & 2 storeys, Class 10) | ☐ |

| 3. | SPECIFICATIONS |  |
| --- | --- | --- |
|  | One copy of specifications must be submitted with your application. | ☐ |
|  | All other information not shown on the drawings, which is necessary to show that the building will, if constructed in accordance with the specifications, comply with the provisions of the Building Code of Australia. | ☐ |

| 4. | ENERGY EFFICIENCY |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Full details of the National Construction Code Volume Two, Deemed-to-Satisfy Provisions for 7-star energy rating including a completed copy of the glazing calculator and lighting calculator (www.abcb.gov.au); or |  | ☐ |  |  |
|  | 7 Star Rating Energy Efficiency report from an accredited assessor (www.absa.net.au). |  | ☐ |  |  |
| 5. | TERMITE MANAGEMENT |  |  |  |  |
|  | Details of termite management |  |  | ☐ |  |

| 6. | BUSHFIRE PRONE AREAS |  |  |  |
| --- | --- | --- | --- | --- |
|  | Depending on the bushfire risk, if your property is in the ‘Pink’ zone a BAL (Bushfire Attack Level) Assessment may be required. Check here for bushfire prone areas: https://maps.slip.wa.gov.au/landgate/bushfireprone/ |  | ☐ |  |
| 7. | HOME INDEMNITY CERTIFICATE |  |  |  |
|  | Home Indemnity Insurance Certificate not required at time of application for owner-builders (only at time of sale if within 7 years of building). |  | ☐ |  |
|  | Original copy of Home Indemnity Insurance Certificate from approved insurer (for registered builders) |  | ☐ |  |

| 8. | STRUCTURAL ENGINEER’S CERTIFICATION |  |  |
| --- | --- | --- | --- |
|  | If less than a 600mm sand pad is proposed then certification of the concrete footings, floor slab and reinforcement is required |  | ☐ |
|  | To avoid excessive deflection, structural roof beams must be designed by a Structural Engineer |  | ☐ |
|  | All structural elements of two storey or higher construction |  | ☐ |
|  | Sheds, patios, carports and the like with a single span of 6m and greater |  | ☐ |
|  | Retaining walls with finished height exceeding 1.0m (see retaining walls information sheet) |  | ☐ |
|  | Any other details as required by the Principal Building Surveyor |  | ☐ |

| 9. | FEES |  |  |  |
| --- | --- | --- | --- | --- |
|  | You are advised that all relevant fees are required to be paid prior to an application being classed as ready for assessment. |  |  | ☐ |
| 10. | ENQUIRIES |  |  |  |
|  | If you have any questions, please contact the Shire on 9892 1111 during office hours or send an email to info@sop.wa.gov.au |  |  |  |